## Deep Freezer (hidden)
Technical Evaluation of Tender No. BMSICL/2023- 24/ME-303
Item -Deep Freezer(-20 degree)
Date of Technical Opening:- 16/06/2023
Sl. No. | Technical Eligibility Criteria as Per NIT | Observation | Remarks
1 | Make and Model Quoted | Bidder - BLT MONITORING COMPANY. Address- 9/3,Vikas nagar,Lucknow,U.P.- 226022 Make - M/s AUTHENTIC INSTRUMENT Model- X1 4.3 DF-100 submitted Pg No 93. | submitted
2 | EMD Fee (In the form of DD/ Bank Guarantee as per annexure-III) ITB Clause 17 | BG No -19888GOPG2304604,Amount-224000/- . Dated 16.02.2023, issued by Canara Bank Lucknow, Expiry Date -15.10.2023.Submitted Pg No 70-71. | submitted
3 | Tender Fee (In the form of Demand Draft Rs. 11800). | Dated -16.02.2023. issued by ICICI Bank , Amount -11800. pg No -183. | submitted
4 | Document Claiming the Registration for trading /Manufacturing | PAN No-AGDPR4152K,Submitted Pg No.155. | Submitted
5 | Certificate of incorporation and Article of Association & Memorandum of Association / Partnership Deed (As Applicable) ITB Clause 14.1(i) | Bidder is proprietorship,Declaration Submitted Pg no.56 | Submitted
6 | Certificate from Central Excise and trade / sales tax department. | Gst No - 09AGDPR4152K1Z3,Submitted Pg No 81-83. | Submitted
7 | Copy of certificate of Audited Report for any three of last four consecutive Assessment years under the stamp and signature of Chartered Accountant. | Audited report details as follows:- FY 2019-20 -Submitted pg no 2-19 FY 2020-21- Submitted pg no 20-48 FY 2021-22- Submitted Pg No 49-52 | Submitted
8 | Turnover Certificate certified by the CA
9 | Copy of certificate of Balance Sheet for any three of last four consecutive Assessment years under the stamp and signature of Chartered Accountant. | Balance sheet statement Details as follows:- FY 2019-20 submitted pg no 118 FY 2020-21 submitted pg no 147 FY 2021-22 submitted pg no 153 | Submitted
10 | Copy of certificate of P&L Statement for any three of last four consecutive Assessment years under the stamp and signature of Chartered Accountant. | P & L statement Details as follows:- FY 2019-20 submitted pg no 119 FY 2020-21 submitted pg no 148 FY 2021-22 submitted pg no 154 | Submitted
11 | Copy of self-attested IT Returns for any three of last four consecutive Assessment years | ITR Assesment submitted on pg no as follows:- AY 2020-21 submitted on Pg no 157. AY 2021-22 submitted on Pg. no 158. AY 2022-23 submitted on Pg. no 159. | Submitted
12 | Non Conviction Declaration(Sworn before First Class Magistrate/Notary) as per Annexure 10 | Notarized Non Conviction Declaration as per Annexure 10 Submitted Pg No -94-95 | Submitted
13 | Manufacturer's Authorization (if quoted by bidder other than manufacturer) as per Annexure 5 | Manufacturer's Authorization submitted pg no 53. | Submitted
14 | Bid Form (Sworn before First Class Magistrate/Notary) as per Annexure 1 | Notarized bid form as per annexure-1 submitted on pg no. 54-55 Date of issue 15/02/2023. | Submitted
15 | Supply/Purchase order issued by user institution to comply supply criteria mentioned in ITB clause 15 | 1.P.O. NO.-GBB-2020-2022/874,Dated-12/08/2021,Issued by Gurukul Blood Bank Jaipur offer model of equipment ,Qty 1 submitted pg no 163. 2.P.O. NO.-MKB/AUTH/1-2022-23,Dated-05/04/2022,Issued by Manav Kalyan Blood Bank Centre Punjab offer model of equipment ,Qty 1submitted pg no 165. 3.P.O. NO.-Nil,Dated-24/06/2020,Issued by Arpan Blood Centre Jaipur offer model of equipment ,Qty 1 submitted pg no 167. | Submitted
16 | Performance Statement in Annexure 6 | Performance Statement in Annexure 6 - Submitted Pg No -162 | Submitted
17 | Certificate from end user(s) indicating the Purchase order(s) as submitted by the Bidder, date of installation and performance of the Equipment. | Certificate from end user(s)as follows: 1.Dated 25/12/2022,Issued by Gurukul Blood Bank Jaipur submitted pg no 164. 2.Dated 18/11/2022,Issued by Manav Kalyan Blood Bank Centre Punjab submitted pg no 166. 3.Dated 16/08/2022,Issued by Arpan Blood Centre Jaipur submitted pg no 168. | Submitted
18 | Technical Data Sheet/Brochure/Catalogue of the model quoted | Technical Data Sheet/Brochure/Catalogue submitted, pg no 174-179. | Submitted
19 | Technical Deviation Compliance as per annexure-8 | Technical Deviation Compliance as per annexure-8 submitted, pg no 180-182 | Submitted
20 | Power of Attorney for the Signatory to the Bid as per annexure 12, duly notarized. | Notarized Power of Attorney as per annexure 12, submitted, pg no 160-161. | Submitted
21 | Quality Standard Certification (FDA/CE/BIS/ISO etc. as required in the technical specification) for specification for each schedule of requirement if any. | EU declaration of conformity submitted pg no 169-170. | Submitted
22 | Notary attested declaration if exempted in EMD Fee , Technical Qualification as per Notary attested declaration if exempted in EMD Fee , Technical Qualification as per Bihar Industrial Investment Policy, 2016 as amended in 2020 for Manufacturer Unit in Bihar as mentioned in special condition of contract. | Not Applicable,Declaration submitted pg no 173 | Submitted
23 | Approval from Reserve Bank of India in case of Foreign Collaboration | Not Applicable | Not Applicable
24 | IEC Certificate if the bidder is an importer of the quoted Equipment | IEC NO. 060300663,submitted pg no 79. | Submitted

## Deep Freezer (-20 degree) (hidden)
Technical Evaluation of Tender No. BMSICL/2023- 24/ME-303
Item -Deep Freezer(-20 degree)
Date of Technical Opening:- 16/06/2023
Sl. No. | Technical Eligibility Criteria as Per NIT | Observation | Remarks
1 | Make and Model Quoted | Bidder - Genist Technocracy Pvt. Ltd. Address - Hadbast No. 220 Village - Malakpur, Lalru Handesara Road, Tehsil - Derrabassi, District - Mohali, Pin- 140501. Make - GENIST Model - GTP-003 Submitted at Page 10. | Submitted.
2 | EMD Fee (In the form of DD/ Bank Guarantee as per annexure-III) ITB Clause 17 | BG No. - 51120IGL0001523 of Amount Rs. 12,000/-. Issued by Union Bank of India, Chandigarh on 12.06.2023 with Expiry date of 23.01.2024.Submitted at Page 6 -9. | Submitted.
3 | Tender Fee (Rs. 11800; Only Online). | Dated - 09.06.2023 Amount - Rs. 11,800/- Submitted at Page 5 | Submitted. Not clear from which Bank.
4 | Document Claiming the Registration for trading /Manufacturing | Form 4 of Registration & Licence to Work as Factory. Submitted at Page 155-156. | Submitted.
5 | Certificate of incorporation and Article of Association & Memorandum of Association / Partnership Deed (As Applicable) ITB Clause 14.1(i) | Certificate of Registration for Change of State dated 14.07.2022 has been attached. The Original MoA & AoA has been attached as well. Submitted at Page 11 - 24. | Submitted. The copies the Special Resolution altering the MOA and the Order dated 17.06.2022 issued by Regional Director should have been attached.
6 | Certificate from Central Excise and trade / sales tax department. | GST No. - 03AAFCG3197G1ZP Submitted at Page 25 - 27
7 | Copy of certificate of Audited Report for any three of last four consecutive Assessment years under the stamp and signature of Chartered Accountant. | Details of the Audited Reports are: FY 2019 -20 Submitted at Page 29 - 44 FY 2020-21 Submitted at Page 46 - 61 FY 2021 - 22 Submitted at Page 62 - 85
8 | Turnover Certificate certified by the CA
9 | Copy of certificate of Balance Sheet for any three of last four consecutive Assessment years under the stamp and signature of Chartered Accountant. | Balance Sheet details are: FY 2019 -20 Submitted at Page 91 FY 2020 - 21 Submitted at Page 107 FY 2021 - 22 Submitted at Page 129
10 | Copy of certificate of P&L Statement for any three of last four consecutive Assessment years under the stamp and signature of Chartered Accountant. | Balance Sheet details are: FY 2019 -20 Submitted at Page 92 FY 2020 - 21 Submitted at Page 108 FY 2021 - 22 Submitted at Page 130
11 | Copy of self-attested IT Returns for any three of last four consecutive Assessment years | IT Returns details are: AY 2021 -22 Submitted at Page 148 AY 2020-21 Submitted at Page 149 AY 2019 - 2020 Submitted at Page 150 AY 2018 -2019 Submitted at Page 151 | No ITR submitted for AY 2022 - 23 i.e. for FY 2021 - 22.
12 | Non Conviction Declaration(Sworn before First Class Magistrate/Notary) as per Annexure 10 | Notarized Non Conviction Declaration as per Annexure 10 Submitted at Page 152 - 153
13 | Manufacturer's Authorization (if quoted by bidder other than manufacturer) as per Annexure 5 | Not Applicable. However, OEM License Submitted at Page 154 -156.
14 | Bid Form (Sworn before First Class Magistrate/Notary) as per Annexure 1 | Notarized Bid Form as per Annexure-1 submitted on Page 157 - 158 dated 02.06.2023.
15 | Supply/Purchase order issued by user institution to comply supply criteria mentioned in ITB clause 15 | 1. P.O. No. - 511687735712862 dated 04.11.2022 issued by Food Corporation of India, Qty - 1 Submitted at Page 161 2. P.O. No. - 511687784539785 dated 07.01.2021 issued by All India Institute of Medical Sciences, Bhopal, Qty - 1 Submitted at Page 162 3. P.O. No. - 511687713545464 dated 22.02.2021 issued by The Principal, Government College of Technology, Coimbatore, Qty - 1 Submitted at Page 163
16 | Performance Statement in Annexure 6 | Performance Statement as per Annexure - 6 submitted at Page 159 - 160.
17 | Certificate from end user(s) indicating the Purchase order(s) as submitted by the Bidder, date of installation and performance of the Equipment. | Certificate of End User(s): 1. Issued at AIIMS, Bhopal dated 08.03.2021. Submitted at Page 170 2. Issued at Food Corporation of India, Bhubneshwar dated 16.12.2022. Submitted at Page 169 3. Issued at Government College of Technology, Coimbatore dated 22.03.2021. Submitted at Page 170.
18 | Technical Data Sheet/Brochure/Catalogue of the model quoted | Catalogue consisting technical specifications submitted at Page 186 - 188.
19 | Technical Deviation Compliance as per annexure-8 | Technical Deviation Compliance as per Annexure - 8 submitted at Page 191 - 192.
20 | Power of Attorney for the Signatory to the Bid as per annexure 12, duly notarized. | Notarized Power of Attorney as per Annexure - 12 submitted at Page 190.
21 | Quality Standard Certification (FDA/CE/BIS/ISO etc. as required in the technical specification) for specification for each schedule of requirement if any. | Certificates submitted at Page 191 - 214.
22 | Notary attested declaration if exempted in EMD Fee , Technical Qualification as per Bihar Industrial Investment Policy, 2016 as amended in 2020 for Manufacturer Unit in Bihar as mentioned in special condition of contract. | Not Applicable. | Not Applicable.
23 | Approval from Reserve Bank of India in case of Foreign Collaboration | Not Applicable. Confirmation of Indian manufacturer submitted at Page 215. | Not Applicable.
24 | IEC Certificate if the bidder is an importer of the quoted Equipment | Not applicable. Confirmation of being Original Equipment manufacturer submitted at Page 154 -156. | Not Applicable.

## Blood Bank Refrigerator
Technical Evaluation of Tender No. BMSICL/2024-25/ME-368
Item- Blood Bank Refrigerator
Date of Technical Opening:- 16/10/2024
Sl. No. | Technical Eligibility Criteria as Per NIT | Observation | Remarks
1 | Make and Model Quoted | Bidder - M/S AUTHENTIC INSTRUMENTS Address - 31,INDUSTRIAL AREA,JAIPUR,RAJASTHAN-302012 MAKE - Authentic Instruments MODEL - X1 BBR 200 ; Submitted on Pg no - 204 | Submitted
2 | EMD Fee (Offline in the form of Bank Guarantee as per Annexure 11) ITB Clause 18 | BG No -054GT02242850012,Issue Date -11-10-2024,Expiry Date -30-06-2025, issued by HDFC Bank,Jaipur,Amount - 330000/- Submitted on Pg no 5-9 | Submitted
3 | Tender Fee (Rs. 11800; Only Online). | Tender Fee submitted on Pg no 1 | Submitted
4 | Document Claiming the Registration for trading /Manufacturing | UDYAM Certificate with Reg No: UDYAM-RJ-17-0016209; submitted on Pg No 17 | Submitted
5 | Certificate of incorporation and Article of Association & Memorandum of Association / Partnership Deed (As Applicable) | Bidder is Proprietorship,Not Applicable | Not Applicable
6 | Certificate from Central Excise and trade / sales tax department/GST | GST No: 08AKHPS7105D1Z7 submitted on Pg no 22-24 | Submitted
7 | Copy of certificate of Audited Report for any three of last four consecutive Assessment years under the stamp and signature of Chartered Accountant. | Audit report details are as follows:- FY 2020-21 submitted on Pg no 54-65 FY 2021-22 submitted on Pg no 42-53 FY 2022-23 submitted on Pg no 30-41 | Submitted
8 | Turnover Certificate certified by the CA | Turnover Certificate submitted on Pg no 66 | Submitted
9 | Copy of certificate of Balance Sheet for any three of last four consecutive Assessment years under the stamp and signature of Chartered Accountant. | Balance Sheet details are as follows:- FY 2020-21 submitted on Pg no 82 FY 2021-22 submitted on Pg no 81 FY 2022-23 submitted on Pg no 80 | Submitted
10 | Copy of certificate of P&L Statement for any three of last four consecutive Assessment years under the stamp and signature of Chartered Accountant. | P&L Statement details are as follows:- FY 2020-21 submitted on Pg no 78-79 FY 2021-22 submitted on Pg no 76-77 FY 2022-23 submitted on Pg no 74-75 | Submitted
11 | Copy of self-attested IT Returns for any three of last four consecutive Assessment years | ITR Assessment details are as follows:- AY 2021-22 submitted on Pg no 71 AY 2022-23 submitted on Pg no 69 AY 2023-24 submitted on Pg no 67 | Submitted
12 | Non Conviction Declaration(Sworn before First Class Magistrate/Notary) as per Annexure 10 | Notarised Non Conviction Declaration as per Annexure 10 submitted on Pg no 89-90 | Submitted
13 | Manufacturer's Authorization (if quoted by bidder other than manufacturer) as per Annexure 5 | Manufacturer's Declaration Submitted on Pg no 86 | Submitted
14 | Bid Form (Sworn before First Class Magistrate/Notary) as per Annexure 1 | Notarised Bid Form as per Annexure-1 submitted on Pg no 87-88; Date of issue 30-08-2024 | Submitted
15 | Supply/Purchase order issued by user institution to comply supply criteria mentioned in ITB clause 16.1 | PO Submitted as follows: - 1.PO No. -T-1/2021-22/PO-1/101, Dated: 11.10.2021, issued by Pratistha Blood Centre,Tonk Rajasthan, Qty -02 of Quoted model of Equipment Submitted on Pg no 93. 2.PO No. -2022-23/BB/1/2022, Dated: 25.11.2022, issued by Manavata Blood Centre,Sikar Rajasthan, Qty -03 of Quoted model of Equipment Submitted on Pg no 91. | Submitted
16 | Performance Statement in Annexure 6 | Performance Statement as per Annexure 6 submitted on Pg no 41 | Submitted
16 | Performance Statement in Annexure 6 | Performance Statement as per Annexure 6 submitted on Pg no 102-103 | Submitted
17 | Certificate from end user(s) indicating the Purchase order(s) as submitted by the Bidder, date of installation and performance of the Equipment as per criteria mentioned in ITB clause 16.1 | Certificate from end user(s):- 1. Dated - 10.08.2024,Issued by Pratistha Blood Centre,Tonk Rajasthan, Qty -02 submitted on pg no 94 2.Dated - 15.09.2024,Issued by Manavata Blood Centre,Sikar Rajasthan, Qty -03 submitted on pg no 92 NOTE: As per Bid Clause 16, the date of issuing of performance certificate should not be older than 6 months from the date of publication of the tender. | Not Comply bid Clause
18 | Technical Data Sheet/Brochure/Catalogue of the model quoted | Catalogue of the quoted model submitted Pg no 133-140 | Submitted
19 | Technical Deviation Compliance as per annexure-8 | Technical Deviation Compliance as per Annexure-8 submitted on Pg no 208-210 | Submitted
20 | Power of Attorney for the Signatory to the Bid as per annexure 12, duly notarized. | Notarized Power of Attorney as per Annexure 12, submitted on Pg no 143-144 | Submitted
21 | Quality Standard Certification: 1.US FDA / European CE(Issued by notified body) Approved model should be offered. 2. The product should have an import/manufacturing license for the quoted model with a valid number from the Central Licensing Authority or State Licensing Authority of CDSCO for Medical Devices. 3.Equipment Electrical Safety Declaration Should be submitted by the Bidder. | Quality Certificate details as follows: 1. EUCE(NB NO.-1354) submitted on Pg no 145-148. 2. Manufacturing Licence for the quoted model with a valid CDSCO number Submitted on pg no 158-162 3. Electric Safety IEC 60601-1-2006 submitted on Pg no- 163-164 | Submitted
22 | Notary attested declaration if exempted in EMD Fee , Technical Qualification as per Bihar Industrial Investment Policy, 2016 as amended in 2020 for Manufacturer Unit in Bihar as mentioned in special condition of contract. | Not Applicable | Not Applicable
23 | Approval from Reserve Bank of India in case of Foreign Collaboration | Not Applicable | Not Applicable
24 | IEC Certificate if the bidder is an importer of the quoted Equipment | Not Applicable | Not Applicable

## Refrigerated centrifuge
Technical Evaluation of Tender No. BMSICL/2024-25/ME-368
Item- Refrigerated centrifuge
Date of Technical Opening:- 16/10/2024
Sl. No. | Technical Eligibility Criteria as Per NIT | Observation | Remarks
1 | Make and Model Quoted | Bidder - M/S AUTHENTIC INSTRUMENTS Address - 31,INDUSTRIAL AREA,JAIPUR,RAJASTHAN-302012 MAKE - Authentic Instruments MODEL - X1 RC 12 ; Submitted on Pg no - 204 | Submitted
2 | EMD Fee (Offline in the form of Bank Guarantee as per Annexure 11) ITB Clause 18 | BG No -054GT02242850012,Issue Date -11-10-2024,Expiry Date -30-06-2025, issued by HDFC Bank,Jaipur,Amount - 330000/- Submitted on Pg no 5-9 | Submitted
3 | Tender Fee (Rs. 11800; Only Online). | Tender Fee submitted on Pg no 1 | Submitted
4 | Document Claiming the Registration for trading /Manufacturing | UDYAM Certificate with Reg No: UDYAM-RJ-17-0016209; submitted on Pg No 17 | Submitted
5 | Certificate of incorporation and Article of Association & Memorandum of Association / Partnership Deed (As Applicable) | Bidder is Proprietorship,Not Applicable | Not Applicable
6 | Certificate from Central Excise and trade / sales tax department/GST | GST No: 08AKHPS7105D1Z7 submitted on Pg no 22-24 | Submitted
7 | Copy of certificate of Audited Report for any three of last four consecutive Assessment years under the stamp and signature of Chartered Accountant. | Audit report details are as follows:- FY 2020-21 submitted on Pg no 54-65 FY 2021-22 submitted on Pg no 42-53 FY 2022-23 submitted on Pg no 30-41 | Submitted
8 | Turnover Certificate certified by the CA | Turnover Certificate submitted on Pg no 66 | Submitted
9 | Copy of certificate of Balance Sheet for any three of last four consecutive Assessment years under the stamp and signature of Chartered Accountant. | Balance Sheet details are as follows:- FY 2020-21 submitted on Pg no 82 FY 2021-22 submitted on Pg no 81 FY 2022-23 submitted on Pg no 80 | Submitted
10 | Copy of certificate of P&L Statement for any three of last four consecutive Assessment years under the stamp and signature of Chartered Accountant. | P&L Statement details are as follows:- FY 2020-21 submitted on Pg no 78-79 FY 2021-22 submitted on Pg no 76-77 FY 2022-23 submitted on Pg no 74-75 | Submitted
11 | Copy of self-attested IT Returns for any three of last four consecutive Assessment years | ITR Assessment details are as follows:- AY 2021-22 submitted on Pg no 71 AY 2022-23 submitted on Pg no 69 AY 2023-24 submitted on Pg no 67 | Submitted
12 | Non Conviction Declaration(Sworn before First Class Magistrate/Notary) as per Annexure 10 | Notarised Non Conviction Declaration as per Annexure 10 submitted on Pg no 89-90 | Submitted
13 | Manufacturer's Authorization (if quoted by bidder other than manufacturer) as per Annexure 5 | Manufacturer's Declaration Submitted on Pg no 86 | Submitted
14 | Bid Form (Sworn before First Class Magistrate/Notary) as per Annexure 1 | Notarised Bid Form as per Annexure-1 submitted on Pg no 87-88; Date of issue 30-08-2024 | Submitted
15 | Supply/Purchase order issued by user institution to comply supply criteria mentioned in ITB clause 16.1 | PO Submitted as follows: - 1.PO No. -T-1/2021-22/PO-1/101, Dated: 11.10.2021, issued by Pratistha Blood Centre,Tonk Rajasthan, Qty -01 of Quoted model of Equipment Submitted on Pg no 93. 2.PO No. -2022-23/BB/1/2022, Dated: 25.11.2022, issued by Manavata Blood Centre,Sikar Rajasthan, Qty -01 of Quoted model of Equipment Submitted on Pg no 91. 3.PO No. -2022-23/SBC1020, Dated: 15.03.2023, issued by SHEKHAWATI Blood Centre,Jaipur Rajasthan, Qty -01 of Quoted model of Equipment Submitted on Pg no 91. | Submitted
16 | Performance Statement in Annexure 6 | Performance Statement as per Annexure 6 submitted on Pg no 41 | Submitted
16 | Performance Statement in Annexure 6 | Performance Statement as per Annexure 6 submitted on Pg no 104-105 | Submitted
17 | Certificate from end user(s) indicating the Purchase order(s) as submitted by the Bidder, date of installation and performance of the Equipment as per criteria mentioned in ITB clause 16.1 | Certificate from end user(s):- 1. Dated - 10.08.2024,Issued by Pratistha Blood Centre,Tonk Rajasthan, Qty -01 submitted on pg no 94 2.Dated - 15.09.2024,Issued by Manavata Blood Centre,Sikar Rajasthan, Qty -01 submitted on pg no 92 3.Dated - 17.09.2024,Issued by SHEKHAWATI Blood Centre,Jaipur Rajasthan, Qty -01 submitted on pg no 92 NOTE: As per Bid Clause 16, the date of issuing of performance certificate should not be older than 6 months from the date of publication of the tender. | Not Comply bid Clause
18 | Technical Data Sheet/Brochure/Catalogue of the model quoted | Catalogue of the quoted model submitted Pg no 123-132 | Submitted
19 | Technical Deviation Compliance as per annexure-8 | Technical Deviation Compliance as per Annexure-8 submitted on Pg no 205-207 | Submitted
20 | Power of Attorney for the Signatory to the Bid as per annexure 12, duly notarized. | Notarized Power of Attorney as per Annexure 12, submitted on Pg no 143-144 | Submitted
21 | Quality Standard Certification: 1.US FDA / European CE (Issued by notified body) Approved model should be offered. 2.The product should have an import/manufacturing license for the quoted model with a valid number from the Central Licensing Authority or State Licensing Authority of CDSCO for Medical Devices. 3.Electrical safety: Equipment meets electrical safety specification such as that of IEC 61010. Safety requirements for electrical equipment for measurement, control and laboratory use IEC 61326-Electromagnetic Compatibility and IEC 60529 Degrees of protection provided by enclosure with protection level of IP 20 or battery level. All IEC certificate to be issued by a NABL Certified Lab. | Quality Certificate details as follows: 1. EUCE(NB NO.-1354) submitted on Pg no 145-148. 2. Manufacturing Licence for the quoted model with a valid CDSCO number Submitted on pg no 158-162 3. Electric Safety IEC 60601-1-2006 submitted on Pg no- 165-191 | Submitted
22 | Notary attested declaration if exempted in EMD Fee , Technical Qualification as per Bihar Industrial Investment Policy, 2016 as amended in 2020 for Manufacturer Unit in Bihar as mentioned in special condition of contract. | Not Applicable | Not Applicable
23 | Approval from Reserve Bank of India in case of Foreign Collaboration | Not Applicable | Not Applicable
24 | IEC Certificate if the bidder is an importer of the quoted Equipment | Not Applicable | Not Applicable