|  | Bihar Medical Services & Infrastructure Corporation Limited, 2nd & 3rd Floor, Swasthya Bhawan, Behind IGIMS, Sheikhpura, Adjacent to State Health Society, Patna 800023, Phone/Fax: +91612 2283287,+ 91612 2283288 |
| --- | --- |

Corrigendum-I

Bihar Medical Services and Infrastructure Corporation Limited (BMSICL) had invited E-Bids from the interested parties for the procurement, rate contract and the supply of medical equipment for different Govt. Institutions of Bihar vide Notice Inviting Re-Tender No.- BMSICL/2025-26/ME-478. During and after Pre-bid meeting various suggestions were received from different prospective bidders regarding amendment in technical specification of equipment which were discussed and deliberated on by the experts, who after due deliberation recommended certain amendments in the technical specification of the equipment, which are annexed as Annexure-I of this corrigendum. In order to facilitate maximum participation of bidders the tender schedule is being revised as follows: -

| Tender Reference No. | BMSICL/2025-26/ME-478 |
| --- | --- |
| Last date and time of submission of online bids | 19th May 2026 till 17:00 Hrs. |
| Last date and time of submission of original documents of EMD, Tender Fee and Document | 20th May 2026 till 14:00 Hrs. |
| Date, Time and Place of opening of Technical Bid | 20th May 2026 (at 15:00 Hrs.) on the website of https:/eproc2.bihar.gov.in in the office of BMSICL |
| Date and time of opening of financial Bids | To be announced later on https:/eproc2.bihar.gov.in |

Note: -

1. Bidders are advised to refer to the Annexure-I of this corrigendum before submission of bid.

2. Those who have submitted their bids are requested to re-submit their bids in accordance with this corrigendum.

Annexed: - as above

GM (Procurement)

BMSICL

| Annexure-I |  |  |
| --- | --- | --- |
| Name of Equipment:- Laser Therapy Unit (Hand held) |  |  |
| SI. No | Technical Specification as per tender | Final Amendment |
| 1 | It should be based on Wavelength of range 810 nm + 980 nm. | No Change |
| 2 | It should have Guide Light of 650 nm - 3 mW. | No Change |
| 3 | It should have power upto 7 W benefiting tissues at greater depth. | It should have power upto 7 to 10 W or more benefiting tissues at greater depth. |
| 4 | Laser should be of class IV. | No Change |
| 5 | It should work on Emission Continuous (CW), Pulsed, Super pulsed, and E2C. | No Change |
| 6 | It should have different Operation mode like Manual, Single Pulse, Burst and Custom mode. | No Change |
| 7 | It should also have special modes like Joule mode, Timer mode, Trigger point Mode. | No Change |
| 8 | Effect mode 5 specific emission modes to maximize the 5 main effects of laser therapy: | Effect mode 7 specific emission modes to maximize the 5 main effects of laser therapy |
| 9 | Specific emission modes to maximize the main effects of laser therapy: (Bio-stimulant, Analgesic, Anti-inflammatory, Anti-edema, Tension Relief). | No Change |
| 10 | It should have over 60 pathologies with interactive illustrations and protocols sub-divided by phase Pathologies. | No Change |
| 11 | It should Calibration Normative Graphic and acoustic control system for laser emission at handpiece exit in accordance with norm. CE/ EN 60825-1. | No Change |
| 12 | It should have Display "Color TFT 5", Touch – screen, Light weight, Plastic cabinet. | It should have Display "Color TFT 5" or more, Touch – screen, Light weight, Plastic cabinet. |
| 13 | Power Supply:- Power input to be 220-240VAC, 50Hz fitted with Indian plug. Comprehensive Warranty :- Comprehensive warranty should be 3 years. | No Change |
| 14 | Dimensions of equipment should be approximately 320(W) x 245(D) x 130(H) mm. | Dimensions of equipment should be approximately 320±25(W) x 245±25(D) x 130±25(H) mm. |
| 15 | It should not weigh more than 3 kg for easy portability. | It should not weight more than 5 kg for easy portability. |
| 16 | Should have operating frequency: 10 to 100 Hz. | No Change |
| 17 | The unit should have 7 Emission Mode: Pulsed, Single Pulse, Continuous Wave, Custom, Anti Inflammatory, Burst and E2C. | No Change |
| 18 | It should also have special modes like Joule mode, Timer mode, Trigger point Mode. | No Change |
| 19 | It Should be US FDA/ European CE Approved Model. The quoted model should conform to “IEC 60601” or “IEC 61010”. | It Should be US FDA/ European CE (with Notified body) |
| 20 | Should be supplied with following accessories: | No Change |
| • | Laser hand piece | No Change |
| • | Footswitch | No Change |
| • | Laser warning sign | No Change |
| • | Carry bag | No Change |
| • | Safety glasses | Deleted |
| • | 3 pole interlock | No Change |
| • | Power cable | No Change |
| • | Ø 30 mm Applicator | Ø15-30 mm Applicator |
| • | Ø 40 mm Applicator | Ø30-40 mm Applicator |
| 21 | Laser classification– Class 3B according to IEC – 60825 – 1 Laser probes/Consumabale :- | Laser classification– Class IV Laser probes/Consumable |
| • | 1. 810nm – 300 mW pointed (module) |  |
| • | 2. 650nm – 40mW pointed (module) |  |
| • | 3. 650nm – 200mW cluster (diode) |  |
| 22 | Should be supplied with safety Eye wears (02 Nos). | No Change |
|  | Added Point | The system should support Scan Module for automatic or hand free application. |

| Name of Equipment :- Exercise Bed / COUCH WOODEN |  |  |  |
| --- | --- | --- | --- |
| Technical Specification as per tender |  |  | Final Amendment |
| Version no : |  | 1 | No Change |
| Date : |  | 2/28/2017 | No Change |
| Done by : (Name/ Institution’s) |  | HCT/ NHSRC | No Change |
| NAME , CATEGORY AND CODING |  |  | No Change |
| UMDNA name |  | Exercise plinth/Couch | No Change |
| UMDNS code (s) |  | NA | No Change |
| GENERAL |  |  | No Change |
| 1. USE |  |  |  |
| 1.1 | Clinical purpose | Table are designed for treatment of diseases diseases using therapeutic exercises and massage. It may be used for all purpose related to PMR Department | No Change |
| 1.2 | Used by clinical department/ ward | Physio Therapy Department | No Change |
| TECHNICAL |  |  | No Change |
| 2. TECHNICAL CHARACTERISTICS |  |  |  |
| 2.1 | Technical characteristics (specific to this type of device) | 1. Made up of soil wood , should have 4 legs | No Change |
|  |  | 2. Plinth Size : High and Low | No Change |
|  |  | 3. Top 19 mm thickness Ply. | No Change |
|  |  | 4. 4 inch cushioned with rexin cover legs cross section 8 x 10 cm. | No Change |
|  |  | L*B*H (to be specified as per the requirements) | No Change |
| 2.2 | User’s interface | Manual | No Change |
| 2.3 | Software and/or standard of communication (where ever required | NA | No Change |
| 3. PHYSICAL CHARACTERISTICS |  |  |  |
| 3.1 | Dimensions (metric) | NA | No Change |
| 3.2 | Weight (lbs: kg) | NA | No Change |
| 3.3 | Noise (in dBA) | NA | No Change |
| 3.4 | Heat dissipation | NA | No Change |
| 3.5 | Mobility, portability | Portable | No Change |
| 4. ENERGY SOURCE (electricity, UPS, solar, gas, water, CO2....). |  |  |  |
| 4.1 | Power requirements | NA | No Change |
| 4.2 | Battery operated | NA | No Change |
| 4.3 | Protection | NA | No Change |
| 4.4 | Power consumption | NA | No Change |
| 5. ACCESSORIES, SPARE PARTS, CONSUMABLES |  |  |  |
| 5.1 | Accessories, | Exercise plinth High and Exercise Plinth Low | No Change |
|  | (mandatory, standard, optional); Spare parts (main ones); Consumables/reagents (Open, closed system) |  | No Change |
| BIDDING / PROCUREMENT TERMS / DOINATION REQUIREMENTS |  |  | No Change |
| 6. ENVIRONMENTAL AND DEPARTMENTAL CONSIDERATIONS |  |  |  |
| 6.1 | Atmosphere/Ambience (air conditioning, humidity, dust …) | NA | No Change |
| 6.2 | User’s care, Cleaning, Disinfection & Sterility issues | NA | No Change |
| 7. STANDARDS AND SAFETY |  |  |  |
| 7.1 | Certificates (Pre – market, sanitary,..); Performance and safety standards (specific to the device type) ; Local and / or international | NA | No Change |
| 8. TRAINING AND INSTALLATION |  |  |  |
| 8.1 | Pre-installation requirements: nature values , quality , tolerance | NA | No Change |
| 8.2 | Requirements for sign- off | NA | No Change |
| 8.3 | Training of staff (medical paramedical technicians) | NA | No Change |
| 9. WARRANTY AND MAINTENANCE |  |  |  |
| 9.1 | Warranty | NA. | No Change |
| 10. DOCUMENTATION |  |  |  |
| 10.1 | Operating manuals , set manuals, other manuals | NA | No Change |
| 10.2 | Other accompanying documents | NA | No Change |
| 11. NOTES |  |  |  |
| 11.1 | Service Support Contact details (Hierarchy Wise including a toll free/ landline number) | NA | No Change |
| 11.2 | Recommendations Or warnings | NA | No Change |
|  | Added Point |  | It should be ISO 13485 (NABCB Accredited) Certificate |

| Name of Equipment :- Quadriceps Table Chair |  |  |
| --- | --- | --- |
|  | Name of Equipment | Amendment name of Equipment |
|  | Quadriceps Table Chair | Quadriceps Table |
| SI. No | Technical Specification as per tender | Final Amendment |
| Multi-exercise chair with overhead pulley system can be used for variety of exercises involving reciprocal motion for shoulder, elbow, knees & hips, quadriceps & hamstring stretching and other resistive & assistive exercises. The specifically designed chair which require little space and can be used in small departments where space is very limited. |  | No Change |
| Specifications: |  | No Change |
| 1 | construction : Square tube of 30mm construction with weight pan assembly & storage tray | No Change |
|  | Added Point | It Should be ISO 13485 (NABCB Accredited) Certificated |

| Name of Equipment :- PULSE SHORT WAVE DIATHERMY |  |  |  |
| --- | --- | --- | --- |
| Technical Specification as per tender |  |  | Final Amendment |
| Version no : |  | 1 | No Change |
| Date : |  | 2/28/2017 | No Change |
| Done by : (Name/ Institution’s) |  | HCT/ NHSRC | No Change |
| NAME , CATEGORY AND CODING |  |  | No Change |
| UMDNA name |  | Shortwave Diathermy | No Change |
| UMDNS code (s) |  | 11246 | No Change |
| GENERAL |  |  | No Change |
| 1. USE |  |  |  |
| 1.1 | Clinical purpose | Diathermy applies high-frequency electromagnetic energy to generate heat in body tissues. These devices produce localized moderate heating which causes a 20 to 30 C change in tissue temperature below the skin surface | No Change |
| 1.2 | Used by clinical department/ ward | Physio Therapy Department | No Change |
| TECHNICAL |  |  | No Change |
| 2. TECHNICAL CHARACTERISTICS |  |  |  |
| 2.1 | Technical characteristics (specific to this type of device) | 1. The unit should offer minimum 20 preset therapeutic protocols with electrode placement images to make operation of the simple and convenient. | No Change |
|  |  | 2. Should have an output of up 500 W in continuous mode. | No Change |
|  |  | 3. 800 to 1100 w in pulse mode. | No Change |
|  |  | 4. Pulse repetition frequency of 20 to 200 Hz adjustable in 10 steps | No Change |
|  |  | 5. LCD Screen display of Parameter Treatment time with all Standard. | No Change |
|  |  | 6. 30 minutes treatment timer & tuner control | No Change |
|  |  | 7. Auto switch off as per set timings. | No Change |
| 2.2 | User’s interface | Manual | No Change |
| 2.3 | Software and/or standard of communication (where ever required | Inbuilt | No Change |
| 3. PHYSICAL CHARACTERISTICS |  |  |  |
| 3.1 | Dimensions (metric) | NA | No Change |
| 3.2 | Weight (lbs: kg) | NA | No Change |
| 3.3 | Noise (in dBA) | Noise pressure level :<60 dba | No Change |
| 3.4 | Heat dissipation | NA | No Change |
| 3.5 | Mobility, portability | Portable | No Change |
| 4. ENERGY SOURCE (electricity, UPS, solar, gas, water, CO2....). |  |  |  |
| 4.1 | Power requirements | Should operate from 200 to 240V-AC, 50 Hz input Supply | No Change |
| 4.2 | Battery operated | NA | No Change |
| 4.3 | Protection | UPS of suitable rating with voltage regulation and spike protection for 60 minutes back up | No Change |
| 4.4 | Power consumption | To be specified by vendor | No Change |
| 5. ACCESSORIES, SPARE PARTS, CONSUMABLES |  |  |  |
| 5.1 | Accessories, | 1. Condenser pad with cable | No Change |
|  | (mandatory, standard, optional); Spare parts (main ones); Consumables/reagents (Open, closed system) | 2. Disc electrodes with arms and cables. | No Change |
|  |  | 3. Patient safety switch | No Change |
| BIDDING / PROCUREMENT TERMS / DOINATION REQUIREMENTS |  |  | No Change |
| 6. ENVIRONMENTAL AND DEPARTMENTAL CONSIDERATIONS |  |  |  |
| 6.1 | Atmosphere/Ambience (air conditioning, humidity, dust …) | 1. Operating Condition: Capable of operating continuously in ambient temperature of 5 to 40 deg C and relative humidity of 15 to 80 % in ideal circumstances. | No Change |
|  |  | 2. Storage condition : Capable of being stored continuously in ambient temperature of 0 to 40 deg C and relative humidity of 15 to 90% | No Change |
| 6.2 | User’s care, Cleaning, Disinfection & Sterility issues | Sterilization not required | No Change |
| 7. STANDARDS AND SAFETY |  |  |  |
| 7.1 | Certificates (Pre – market, sanitary,..); Performance and safety standards (specific to the device type) ; Local and / or international | 1. Should be US FDA/CE/BIS/CDSCO approved (US FDA/CE/BIS/CDSCO requirements will be applicable only when the Indian Standards like BIS/CDSCO are not available | Should be US FDA/CE/BIS/CDSCO/ ISO 13485 (NABCB Accredited) Certificated. US FDA/CE/BIS/CDSCO requirements will be applicable only when the Indian Standards like BIS/CDSCO are not available |
|  |  | 2. Manufacturer should have ISO 13485 certification for quality standards | No Change |
|  |  | 3. Electrical safety conforms to the standards for electrical safety IEC 60601-1-1 General requirements (or equivalent BIS Standard). | No Change |
| 8. TRAINING AND INSTALLATION |  |  |  |
| 8.1 | Pre-installation requirements: nature values , quality , tolerance | Availability of 15 Amp Electrical Socket. | No Change |
| 8.2 | Requirements for sign- off | 1. Supplier to perform installation safety and operation checks before handover. | No Change |
|  |  | 2. Local clinical staff to affirm completion of installation | No Change |
| 8.3 | Training of staff (medical paramedical technicians) | 1. Training of users in operation and Basic maintenance shall be provided. | No Change |
|  |  | 2. Advanced maintenance tasks required shall be documented. | No Change |
| 9. WARRANTY AND MAINTENANCE |  |  |  |
| 9.1 | Warranty | 3 Years, including all spares and calibration. | No Change |
| 10. DOCUMENTATION |  |  |  |
| 10.1 | Operating manuals , set manuals, other manuals | Should Provide 2 sets ( hand copy and soft copy) of : | No Change |
|  |  | 1. User, technical and maintenance manuals should be supplied in English/Hindi language along with machine diagrams; | No Change |
|  |  | 2. List if equipment and procedures required for local calibration and routine maintenance; | No Change |
|  |  | 3. Service and operation manuals (original and Copy) to be provided; | No Change |
|  |  | 4. Advanced maintenance tasks documentation; | No Change |
|  |  | 5. Certificate of calibration and inspection, | No Change |
|  |  | 6. Satisfactory certificate for any existing installation from government hospital. | No Change |
| 10.2 | Other accompanying documents | List of essential spares and accessories, with their part number and cost; | No Change |
| 11. NOTES |  |  |  |
| 11.1 | Service Support Contact details (Hierarchy Wise including a toll free/ landline number) | Contact details of manufacturer, supplier and local service agent to be provided; Any Contract (AMC/CMC/add-hoc) to be declared by the manufacturer. | No Change |
| 11.2 | Recommendations Or warnings | Any warning sign would be adequately displayed. | No Change |

| Name of Equipment :- TRACTION UNIT (Cervical & Lumber) WITH BED |  |  |  |
| --- | --- | --- | --- |
| SI. No | Technical Specification as per tender |  | Final Amendment |
| Version no: | 1 |  | No Change |
| Date | 2/15/2017 |  | No Change |
| Done by : (Name/ Institution) | HCT/NHSRC |  | No Change |
| NAME , CATEGORY AND CODING |  |  | No Change |
| UMDNS name | Traction Units |  | No Change |
| UMDNS code (s) | 14105 |  | No Change |
| GENERAL 1. USE |  |  |  |
| 1.1 | Clinical Purpose | Devices designed relieve pressure on compressed nerves, help muscles relax and reduce muscle spasms. Traction increases the space between vertebrae reducing pressure on inter vertebral discs and nerve root. | No Change |
| 1.2 | Used by clinical department/ward | PMR Department | No Change |
| TECHNICAL 2. TECHNICAL CHARACTERISTICS |  |  |  |
| 2.1 | Technical Specification | 1. Should able to deliver decompression therapy: | No Change |
|  |  | 2. Should have a touch screen interactive display for easy treatment set-ups and easy angle selection and must come with treatment protocol manual: | No Change |
|  |  | 3. Must provide along with the package Angle reference chart | No Change |
|  |  | 4. Should able to automatically calculate and digitally display the rope pull angle for decompression and traction as per the treatment protocol | No Change |
|  |  | 5. Should provide protocol manual for light therapy and lumbar and cervical protocol manual Must be a build in computerized software package and protection against accidental setting of force-must have a safety switch for emergency shut off. | No Change |
|  |  | 6. Hold time: 20. 40, 60 and 80 seconds | No Change |
|  |  | 7. Rest time: 1.5, 10 and 20 seconds | No Change |
|  |  | 8. Traction Force: 4-45 Kg (With Doubler 90 Kg) | No Change |
|  |  | 9. Cervical 4-15 Kg (Each 1 kg step) | No Change |
|  |  | 10. Lumbar 23 to 45 Kg (Each 2 kg Steps) | No Change |
|  |  | 11. Safety Switch | No Change |
| 2.2 | User’s interface | Manual | No Change |
| 2.3 | Software and / or standard of communication (where ever required | Inbuilt | No Change |
| 3 . PHYSICAL CHARACTERISTICS |  |  |  |
| 3.1 | Dimensions (metric) | NA | No Change |
| 3.2 | Weight (lbs. Kg) | NA | No Change |
| 3.3 | Noise (in dBA) | Noise pressure level: < 60 dbA. | No Change |
| 3.4 | Heat dissipation | NA | No Change |
| 3.5 | Mobility, Portability | Portable | No Change |
| 4. ENERGY SOURCE (electricity, UPS, solar, gas, water, CO2…) |  |  |  |
| 4.1 | Power requirements | Should operate form 200 to 240V – AC, 50 HZ input Supply | No Change |
| 4.2 | Battery operated |  | No Change |
| 4.3 | Protection | NA | No Change |
| 4.4 | Power consumption | To be Specified by the Supplier | No Change |
| 4.5 | Other energy supplies | Mains cable to be at least 3m length | No Change |
| 5. ACCESSORIES, SPRARE PARTS , CONSUMABLES |  |  |  |
| 5.1 | Accessories , Mandatory, standard Optional ): Spare parts (main ones); | 1. Should come with Flexion stool , Knee bolsters, Cervical pillow, Ankle bolsters, and decompression belts thoracic and pelvic | No Change |
|  | Consumables/reagents (open, closed system | 2. Should provide with a 4 section motorized table hi/low with clamps frame attachments for connecting the traction unit | No Change |
|  |  | 3. Comfortable, durable, skin friendly and good quality cervical/ lumbar belt with standing force of upto 90 kg | No Change |
| BIDDING/ PROCUREMENT TERMS/DONATION REQIREMENTS |  |  |  |
| 6 ENVIRONMENTAL AND DEPARTMENTAL CONSIDERATIONS |  |  |  |
| 6.1 | Atmosphere/Ambiance (air conditioning , humidity , dust …) | NA | No Change |
| 6.2 | User's care. Cleaning Disinfection & Sterility issues | NA | No Change |
| 7. STANDARDS AND SAFETY |  |  |  |
| 7.1 | Certificates (pre-market. Sanitary..); Performance and safety standards (specific to the device type): Local and/or international | 1. Should be US FDA/CE/BIS/CDSCO approved (US FDA/CE/BIS/ CDSCO requirements will be applicable only when the Indian Standards like BIS/CDSCO are not available) | Should be US FDA/CE/BIS/CDSCO/ ISO 13485 (NABCB Accredited) Certificated. US FDA/CE/BIS/CDSCO requirements will be applicable only when the Indian Standards like BIS/CDSCO are not available |
|  |  | 2. Manufacturer should have ISO 13485 certification for quality standards | No Change |
|  |  | 3. Electrical safety conforms to the standards for electrical safety IEC 60601-1-General requirements (or equivalent BIS Standard). | No Change |
| 8. TRAINING AND INSTALLATION |  |  |  |
| 8.1 | Pre-installation requirements: nature, values, quality, tolerance | Availability of 15 Amp. Electrical Socket | No Change |
| 8.2 | Requirements for sign- off | 1. Supplier to perform installation, safety and operation checks before handover. | No Change |
|  |  | 2. Local clinical staff to affirm completion of installation | No Change |
| 8.3 | Training of staff (medical ,paramedical technicians) | 1. Training of users in operation and basic maintenance shall be provided | No Change |
|  |  | 2. Advanced maintenance tasks required shall be documented. | No Change |
| 9. WARRANTY AND MAINTENANCE |  |  |  |
| 9.1 | Warranty | 3 Years, including all spares. | No Change |
| 10. DOCUMENTATION |  |  |  |
| 10.1 | Operating manuals , set manuals , other manuals | Should provide 2 sets (hard copy and soft copy) of : | No Change |
|  |  | 1. User, technical and maintenance manuals should be supplied in English/Hindi language along with machine diagrams: | No Change |
|  |  | 2. List of equipment and procedures required for local calibration and routine maintenance | No Change |
|  |  | 3. Service and operation manuals(original and Copy) to be provided; | No Change |
|  |  | 4. Advanced maintenance tasks documentation: | No Change |
|  |  | 5. Certificate of calibration and inspection, | No Change |
|  |  | 6. Satisfactory certificate for any existing installation from government hospital | No Change |
| 10.2 | Other accompanying documents | List of essential spares and accessories, with their part number and COST | No Change |
| 11.NOTES |  |  |  |
| 11.1 | Service Support Contact details(Hierarchy Wise; including a toll free/ landline number) | Contact details of manufacturer, supplier and local service agent to be provided; | No Change |
|  |  | Any contract (AMC/CMC/add-hoc)To be declared by the manufacturer. | No Change |
| 11.2 | Recommendation or warning | Any warning sign would adequately displayed | No Change |

| Name of Equipment :-Cryotherapy Compression Unit |  |  |
| --- | --- | --- |
| SI. No | Technical Specification as per tender | Final Amendment |
| 1 | The unit should be based on latest air flow technology. | No Change |
| 2 | Air current flow should be able to regulate accordingly. | No Change |
| 3 | The unit should have customized and preset treatment mode. | No Change |
| 4 | It should have intelligent air flow control system with temperature up to -22°C. | No Change |
| 5 | It should have auto self-detection controlling system. | No Change |
| 6 | It should have provision of self-defrosting system for the best cooling performance. | No Change |
| 7 | It should have touch buttons and the LED display for easy and practical operation. | No Change |
| 8 | It should have adjustable treatment time upto 1-99 min. | No Change |
| 9 | It should have airflow output 1-10 levels adjustable, 30L/min-120L/min, Range 10L/min. | No Change |
| 10 | It should have standby and defrost mode. | No Change |
| 11 | The external surfaces of unit must have an A-biotic layer which continuously reduce the bacteria and microbes by 95% to prevent spread of diseases, without repeated use of chemicals. | No Change |
| 12 | A-biotic surfaces should be based on technology that does not use any chemical sterilization process the process for sterilization of surfaces must be a mechanical one. | No Change |
| 13 | All solutions required for maintaining the efficacy of the A-biotic Layer of the unit's surfaces must be supplied along with equipment for the warranty period. | No Change |
| 14 | The A-biotic surface must have a layer of micro mechanical surfaces capable of mechanically killing microbes and viruses. | No Change |
| 15 | The OEM must state that the solution used by it will not lead to mututation at surfaces and that the method to neutralize bacteria and fungus is a micro mechanical killing. | No Change |
| 16 | There should be a digitized user manual available 24*7 with the equipment. | No Change |
| 17 | OEM should have ISO 9001:2015 & ISO 13485 certifications. | OEM should have US FDA/ European CE (Notified body)/ BIS/ISO 13485 (NABCB Accredited) Certificate |
| 18 | OEM Should have GMP certifications. | Deleted |
| 19 | The unit should be European CE certified. | Deleted |
| 20 | It should have power supply of 230 V - 50/60 Hz. | No Change |
| 21 | It Should be US FDA/ European CE Approved Model | It Should be US FDA/ European CE/BIS/ ISO 13485 (NABCB Accredited) Certificate |
| 22 | Comprehensive Warranty: -Comprehensive warranty should be 3 years excluding consumables. | No Change |

| Name of Equipment :- Knee Continuous Passive Motion unit- CPM |  |  |
| --- | --- | --- |
| SI. No | Technical Specification as per tender | Final Amendment |
| 1 | The unit should have microprocessor control having digital display for treatment time flexion angle, extension angle and speed. | No Change |
| 2 | CPM is useful to prevent joint stiffness in the knee, postoperative recovery of ROM, maintaining quality of articular surface, reducing pain and oedema etc. | No Change |
| 3 | Should be useful for Knee, HIP and Ankle mobilization. | No Change |
| 4 | The external surfaces of equipment must have a A-biotic layer which continuously reduce the bacteria and microbes by 95% to prevent spread of diseases, without repeated use of chemicals. | No Change |
| 5 | A-biotic surfaces should be based on technology that does not use any chemical sterilization process the process for sterilization of surfaces must be a mechanical one. | No Change |
| 6 | All solutions required for maintaining the efficacy of the A-biotic Layer of the equipment's surfaces must be supplied along with equipment for the warranty period. | No Change |
| 7 | The A-biotic surface must have a layer of micro mechanical surfaces capable of mechanically killing microbes and viruses. | No Change |
| 8 | The OEM must state that the solution used by it will not lead to mutation at surfaces and that the method to neutralize bacteria and fungus is a micro mechanical killing. | No Change |
| 9 | There should be a digitized user manual available 24* with the system | No Change |
| 10 | The digital user manual must be accessible 24*7 to those in close proximity to machine. | No Change |
| 11 | It should have digital operating panel with LCD display. | No Change |
| 12 | The unit should have Automatic overload reverse protection. | No Change |
| 13 | The unit should have patient stop switch or remote control for patient safety. | No Change |
| 14 | It should have the following ROM: | No Change |
| 15 | Motion range of the knee: 0°—125° | No Change |
| 16 | Motion range of the hip: 25°—100° | No Change |
| 17 | Motion range of the ankle: 0°—40° | No Change |
| 18 | Angle speed range: 1.5°—3.6°/s | No Change |
| 19 | Total time: 0‐240 min | No Change |
| 20 | It should be adjustable to accommodate various size of patients. | No Change |
| 21 | It Should be US FDA/ European CE Approved Model | It Should be US FDA/ European CE (notified body)/BIS /ISO 13485 (NABCB Accredited) Certificate |
| 22 | 12. Should be operated on 50Hz 230V single phase supply. | No Change |